## Sheet1
Parameter | Description | Short Form | Long form | Input type | Values | Required | Default Value | Example
Input/Output file settings
input folder | Specifies the input dir for projections, flats & darks | -id | --indir | String |  | Yes, unless input HDF5 is specified
input projection files regex | Regular expresssion for matching projection files in input dir | -prg | --proj | String |  | Yes, unless input HDF5 is specified |  | "proj_\d+.tif"
input dark files regex | Regular expresssion for matching dark files in input dir | -drg | --darks | String |  | Optional |  | "dark_\d+.tif"
input flat files regex | Regular expresssion for matching flat files in input dir | -frg | --flats | String |  | Optional |  | "flat_\d+.tif"
output files dir | Specifies the output dir for reconstructed slices & sinograms | -od | --outdir | String |  | Yes, unless output HDF5 is specified
output file prefix ct recon | Filename template for output reconstructed slices. Note: an extension required to specify the output file type, supported output file extensions are: ".tif", ".grd" & ".vod", a numeric suffix will be automatically added before the extension | -pfct | --file_prefix_ctrecon | String |  | Yes, unless input HDF5 is specified |  | recon_.tif
output file prefix sinograms | Filename template for output sinograms. Note: an extension required to specify the output file type, supported output file extensions are: ".tif", ".grd" & ".vod", a numeric suffix will be automatically added before the extension | -pfs | --file_prefix_sinograms | String |  | Required param |  | sino_.tif
Input/Output HDF5 settings
input HDF5 | HDF5 DataExchange input file for projections, flats & darks | -h5if | --hdf5_input_file | String |  | Yes, unless input file dir is specified
output HDF5 | HDF5 DataExchange input file for projections, flats & darks | -h5of | --hdf5_output_file | String |  | Yes, unless output file dir is specified
output to input HDF5 | Output goes to specified input HDF5 file | -h5io | --hdf5_output_to_input | Integer | 0 (no), 1(yes) | Optional | 0
copy input files to output HDF5 | All input data is copied to output HDF5 file | -h5fo | --hdf5_copy_input_files | Integer | 0 (no), 1(yes) | Optional | 0
Workflow specific settings
output sinograms | Output sinograms | -os | --output_sinograms | Integer | 0 (no), 1(yes) | Optional | 0
Energy (kEv) | X-ray energy | -e | --energy | Float |  | Yes
Pre-processing specific settings
Trim region | Region input frame files are trimmed during pre-processing | -tr | --trim_region | Region | x1,x2,y1,y2 | Optional |  | 0,0,100,100
Dark field correction | Do dark field correction | -dc | --dark_correction | Integer | 0 (no), 1(yes) | Optional | 0
Flat field correction | Do flat field correction | -fc | --flat_correction | Integer | 0 (no), 1(yes) | Optional | 0
Flat method | Flat field correction method | -fm | --flat_method | Integer | 0 (Average), 1 (Distributed) |  | 0
Subtract dark from flat | Dark field subtracted from flat field during flat correction | -fd | --flat_subtract_dark | Integer | 0 (no), 1(yes) | Optional | 1
Flat Method Size Interval | Distributed flat method interval size | -fn | --flat_size_interval | Integer |  | Optional | 0
Flat Method Size Batch | Distributed flat method batch size | -fb | --flat_size_batch | Integer |  | Optional | 0
Normalisation region | Normalisation region | -nr | --norm_region | Region | x1,x2,y1,y2 | Optional
Normalisation region method | Normalisation region method | -nrm | --norm_region_method | Integer | 0 (Region), 1 (Row-by-Row) | Optional | 0
Zingers filter | Apply Zingers filter | -fz | --zingers_filter | Integer | 0 (no), 1(yes) | Optional | 0
Zingers filter Size | Zingers filter size (pixels) | -fzs | --zingers_filter_size | Integer |  | Optional | 0
Zingers filter Threshold | Zingers filter threshold | -fzt | --zingers_filter_threshold | Float |  | Optional | 0
Log Normalisation | Apply -Log normalisation | -ln | --log_normalisation | Integer | 0 (no), 1(yes) | Optional | 1
Average filter | Apply 3x3 average filter | -fa | --average_filter | Integer | 0 (no), 1(yes) | Optional | 0
Ring filter sinogram | Apply sinogram based ring filter | -frs | --ring_filter_sinogram | Integer | 0 (no), 1(yes) | Optional | 0
Ring filter sinogram size | ring filter size (pixels) | -frss | --ring_filter_sinogram_size | Integer |  | Optional | 3
Phase extraction specific settings
PBI Phase extraction | Apply PBI phase extraction | -pbi | --phase_extraction_pbi | Integer | 0 (no), 1(yes) | Optional | 0
PBI Phase extraction method | PBI method | -pbim | --phase_extraction_pbi_method | Integer | 0 (TIE-Hom), 1 (Born Iterative) | Optional | 0
PBI Phase extraction R Prime | R' | -pbir | --phase_extraction_pbi_rprime | Float |  | Optional | 0
Phase extraction Delta to Beta | Delta to Beta ratio | -pbd2b | --phase_extraction_delta_to_beta | Float |  | Optional | 0
CT-recon specific settings
Recon Method | CT Reconstruction method | -rm | --recon_method | Integer | 0 (FBP- GPU if available), 1 (Gridrec) | Yes | 0
Angle Step | Angle step (degrees) | -as | --angle_step | Float |  | Yes | 0
Pixel Size | Pixel size (um) | -ps | --pixel_size | Float |  | Yes | 0
Recon Filter | Reconstruction filter | -fr | --recon_filter | Integer | 0 (Ramp), 1 (Shepp-Logan), 2 (Cosine), 3 (Hamming), 4 (Hann) | Optional | 0
ZSlice Range Method | Reconstruct a subrange of z-slices | -zr | --zslice_range_method | Integer | 0 (All), 1 (Sub-range) | Optional | 0
ZSliceBegin | Beginning index of z range | -zb | --zslice_begin | Integer |  | Optional | 0
ZSliceEnd | Ending index of z range | -ze | --zslice_end | Integer |  | Optional | 0
Reconstruction Region | Define an ouput x-y subregion for reconstructed slices | -rr | --recon_region | Region | x1,x2,y1,y2 | Optional |  | 0,0,100,100
Centre of Rotation Method | Centre of Rotation method | -cor | --cor_method | Integer | 0 (Manual), 1 (Auto - Correlation), 2 (Auto - Error), 3 (Auto - Sinogram) | Yes | 0
Centre of Rotation Manual | Manual centre of rotation value (relative to slice centre) | -corm | --cor_manual | Float |  | Optional | 0
Centre of Rotation Sinogram Index | Sinogram index to use for Sinogram based COR method | -cors | --cor_sinogram_index | Integer |  | Optional | 0
Recon output as mu | Output slices contain mu values (otherwise beta values) | -rmu | --recon_out_mu | Integer | 0 (no), 1(yes) | Optional | 1
Scale Recon output | Do volume wide output scaling on slices (requires two recon passes) | -rs | --recon_out_scale | Integer | 0 (no), 1(yes) | Optional | 0
Scale Recon method | Scaling method | -rsm | --recon_out_scale_method | Integer | 0 (Auto), 1 (Manual) | Optional | 0
Scale Recon in min | Manual scaling input volume minimum value | -rsimn | --recon_scale_in_min | Float |  | Optional | 0
Scale Recon in max | Manual scaling input volume maximum value | -rsimx | --recon_scale_in_max | Float |  | Optional | 0
Recon output data type | Output data type for relevant file types (TIFF & HDF5 only), float32 is the default datatype for output | -rodt | --recon_output_data_type | Integer | 0 (float32), 1 (float64), 2 (uint8), 3 (uint16), 4 (uint32), 5 (uint64) | Optional | 0